## Sheet1
MET
t_stamp
FPOA | LBSP1/Device/WeatherStation/MET05/FPOA/Irrad_wpm2
LBSP1/Device/WeatherStation/MET15/FPOA/Irrad_wpm2
LBSP1/Device/WeatherStation/MET21/FPOA/Irrad_wpm2
LBSP1/Device/WeatherStation/MET29/FPOA/Irrad_wpm2
RPOA | LBSP1/Device/WeatherStation/MET05/RPOA/Irrad_wpm2
LBSP1/Device/WeatherStation/MET15/RPOA/Irrad_wpm2
LBSP1/Device/WeatherStation/MET21/RPOA/Irrad_wpm2
LBSP1/Device/WeatherStation/MET29/RPOA/Irrad_wpm2
Temp | LBSP1/Device/WeatherStation/MET05/WS/Temp_C
LBSP1/Device/WeatherStation/MET15/WS/Temp_C
LBSP1/Device/WeatherStation/MET21/WS/Temp_C
LBSP1/Device/WeatherStation/MET29/WS/Temp_C
Wind | LBSP1/Device/WeatherStation/MET05/WS/Wind_Speed_mps
LBSP1/Device/WeatherStation/MET15/WS/Wind_Speed_mps
LBSP1/Device/WeatherStation/MET21/WS/Wind_Speed_mps
LBSP1/Device/WeatherStation/MET29/WS/Wind_Speed_mps
Soiling Ratio | LBSP1/Device/WeatherStation/MET05/DustVue/soilingRatio_pct
LBSP1/Device/WeatherStation/MET15/DustVue/soilingRatio_pct
LBSP1/Device/WeatherStation/MET21/DustVue/soilingRatio_pct
LBSP1/Device/WeatherStation/MET29/DustVue/soilingRatio_pct
Inverter | LBSP1/Device/Inverter/INV-PB-01/p3_kW
LBSP1/Device/Inverter/INV-PB-02/p3_kW
LBSP1/Device/Inverter/INV-PB-03/p3_kW
LBSP1/Device/Inverter/INV-PB-04/p3_kW
LBSP1/Device/Inverter/INV-PB-05/p3_kW
LBSP1/Device/Inverter/INV-PB-06/p3_kW
LBSP1/Device/Inverter/INV-PB-07/p3_kW
LBSP1/Device/Inverter/INV-PB-08/p3_kW
LBSP1/Device/Inverter/INV-PB-09/p3_kW
LBSP1/Device/Inverter/INV-PB-10/p3_kW
LBSP1/Device/Inverter/INV-PB-11/p3_kW
LBSP1/Device/Inverter/INV-PB-12/p3_kW
LBSP1/Device/Inverter/INV-PB-13/p3_kW
LBSP1/Device/Inverter/INV-PB-14/p3_kW
LBSP1/Device/Inverter/INV-PB-15/p3_kW
LBSP1/Device/Inverter/INV-PB-16/p3_kW
LBSP1/Device/Inverter/INV-PB-17/p3_kW
LBSP1/Device/Inverter/INV-PB-18/p3_kW
LBSP1/Device/Inverter/INV-PB-19/p3_kW
LBSP1/Device/Inverter/INV-PB-20/p3_kW
LBSP1/Device/Inverter/INV-PB-21/p3_kW
LBSP1/Device/Inverter/INV-PB-22/p3_kW
LBSP1/Device/Inverter/INV-PB-23/p3_kW
LBSP1/Device/Inverter/INV-PB-24/p3_kW
LBSP1/Device/Inverter/INV-PB-25/p3_kW
LBSP1/Device/Inverter/INV-PB-26/p3_kW
LBSP1/Device/Inverter/INV-PB-27/p3_kW
LBSP1/Device/Inverter/INV-PB-28/p3_kW
LBSP1/Device/Inverter/INV-PB-29/p3_kW
LBSP1/Device/Inverter/INV-PB-30/p3_kW
LBSP1/Device/Inverter/INV-PB-31/p3_kW
LBSP1/Device/Inverter/INV-PB-32/p3_kW
LBSP1/Device/Inverter/INV-PB-33/p3_kW
meter | LBSP1/Device/PowerMeter/MTR/p3_kW