## Sheet2
MET
t_stamp
FPOA | NFS/Instrumentation/METs/METB01BP032/Sts/POA/Irradiance_Wm2
NFS/Instrumentation/METs/METB01AP035/Sts/POA/Irradiance_Wm2
NFS/Instrumentation/METs/METB02BP011/Sts/POA/Irradiance_Wm2
NFS/Instrumentation/METs/METB02AP017/Sts/POA/Irradiance_Wm2
NFS/Instrumentation/METs/METB03AP002/Sts/POA/Irradiance_Wm2
RPOA | NFS/Instrumentation/METs/METB01BP032/Sts/RPOAE/Irradiance_Wm2
NFS/Instrumentation/METs/METB01AP035/Sts/RPOAE/Irradiance_Wm2
NFS/Instrumentation/METs/METB02BP011/Sts/RPOAE/Irradiance_Wm2
NFS/Instrumentation/METs/METB02AP017/Sts/RPOAE/Irradiance_Wm2
NFS/Instrumentation/METs/METB03AP002/Sts/RPOAE/Irradiance_Wm2
Temp | NFS/Instrumentation/METs/METB01BP032/Sts/AIO/AmbientTemperature_C
NFS/Instrumentation/METs/METB01AP035/Sts/AIO/AmbientTemperature_C
NFS/Instrumentation/METs/METB02BP011/Sts/AIO/AmbientTemperature_C
NFS/Instrumentation/METs/METB02AP017/Sts/AIO/AmbientTemperature_C
NFS/Instrumentation/METs/METB03AP002/Sts/AIO/AmbientTemperature_C
Wind | NFS/Instrumentation/METs/METB01BP032/Sts/AIO/WindSpeed_mps
NFS/Instrumentation/METs/METB01AP035/Sts/AIO/WindSpeed_mps
NFS/Instrumentation/METs/METB02BP011/Sts/AIO/WindSpeed_mps
NFS/Instrumentation/METs/METB02AP017/Sts/AIO/WindSpeed_mps
NFS/Instrumentation/METs/METB03AP002/Sts/AIO/WindSpeed_mps
Albedo | NFS/Instrumentation/METs/METB01BP032/Sts/ALB/Albedo
NFS/Instrumentation/METs/METB01AP035/Sts/ALB/Albedo
NFS/Instrumentation/METs/METB02BP011/Sts/ALB/Albedo
NFS/Instrumentation/METs/METB02AP017/Sts/ALB/Albedo
NFS/Instrumentation/METs/METB03AP002/Sts/ALB/Albedo
Soiling Ratio | NFS/Instrumentation/METs/METB01BP032/Sts/Mars/SoilingRatio
NFS/Instrumentation/METs/METB01AP035/Sts/Mars/SoilingRatio
NFS/Instrumentation/METs/METB02BP011/Sts/Mars/SoilingRatio
NFS/Instrumentation/METs/METB02AP017/Sts/Mars/SoilingRatio
NFS/Instrumentation/METs/METB03AP002/Sts/Mars/SoilingRatio
Inverter | NFS/PVArrays/Block1A/PCS34/INV001/Sts/P_kW
NFS/PVArrays/Block1A/PCS35/INV001/Sts/P_kW
NFS/PVArrays/Block1A/PCS36/INV001/Sts/P_kW
NFS/PVArrays/Block1A/PCS37/INV001/Sts/P_kW
NFS/PVArrays/Block1A/PCS38/INV001/Sts/P_kW
NFS/PVArrays/Block1A/PCS39/INV001/Sts/P_kW
NFS/PVArrays/Block1A/PCS40/INV001/Sts/P_kW
NFS/PVArrays/Block1B/PCS28/INV001/Sts/P_kW
NFS/PVArrays/Block1B/PCS29/INV001/Sts/P_kW
NFS/PVArrays/Block1B/PCS30/INV001/Sts/P_kW
NFS/PVArrays/Block1B/PCS31/INV001/Sts/P_kW
NFS/PVArrays/Block1B/PCS32/INV001/Sts/P_kW
NFS/PVArrays/Block1B/PCS33/INV001/Sts/P_kW
NFS/PVArrays/Block2A/PCS17/INV001/Sts/P_kW
NFS/PVArrays/Block2A/PCS18/INV001/Sts/P_kW
NFS/PVArrays/Block2A/PCS19/INV001/Sts/P_kW
NFS/PVArrays/Block2A/PCS20/INV001/Sts/P_kW
NFS/PVArrays/Block2A/PCS21/INV001/Sts/P_kW
NFS/PVArrays/Block2A/PCS22/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS10/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS11/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS12/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS13/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS14/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS15/INV001/Sts/P_kW
NFS/PVArrays/Block2B/PCS16/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS01/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS02/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS03/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS04/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS05/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS06/INV001/Sts/P_kW
NFS/PVArrays/Block3A/PCS07/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS08/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS09/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS23/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS24/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS25/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS26/INV001/Sts/P_kW
NFS/PVArrays/Block3B/PCS27/INV001/Sts/P_kW
meter | NFS/Substation/Meters/MET1/Sts/P_MW
NFS/Substation/Meters/MET2/Sts/P_MW